## Slide 1: Building Services Engineering
Topic: Practical mathematics
Route: Construction
Resource 3: Key mathematical electrical principles
Notes: Image © Shutterstock/Gorodenkoff

## Slide 2: Quiz questions
Resource 3: Key mathematical electrical principles
Quiz questions

## Slide 3: Question 1
During a routine test of a newly installed air-handling unit (AHU), you are asked to confirm that the supply fan is operating within its designed electrical load. You connect a clamp meter around the live conductor to measure the current being drawn by the motor.
Which SI unit is used to measure electric current?
A ohms (Ω)
B teslas (T)
C amps (A)
D joules (J)
Resource 3: Key mathematical electrical principles
Quiz questions

## Slide 4: Question 1: Answer
ohms measure resistance,
teslas measure magnetic flux density,
amps measure current,
joules measure energy.
During a routine test of a newly installed air-handling unit (AHU), you are asked to confirm that the supply fan is operating within its designed electrical load. You connect a clamp meter around the live conductor to measure the current being drawn by the motor.
Which SI unit is used to measure electric current?
A ohms (Ω)
B teslas (T)
C amps (A)
D joules (J)
Resource 3: Key mathematical electrical principles
Quiz questions

## Slide 5: Question 2
A current of 2 A flows through a circuit that has a total resistance of 50 ohms.
Calculate the power in the circuit.
A 100 W
B 100 V
C 0.04 W
D 200 W
Resource 3: Key mathematical electrical principles
Quiz questions

## Slide 6: Question 2: Answer
A current of 2 A flows through a circuit that has a total resistance of 50 ohms.
Calculate the power in the circuit.
A 100 W
B 100 V
C 0.04 W
D 200 W
The formula used to find power is
Resource 3: Key mathematical electrical principles
Quiz questions

## Slide 7: Question 3
The formula used to calculate the voltages in a step-down transformer is
Find the value of
when
, and
Resource 3: Key mathematical electrical principles
Quiz questions

## Slide 8: Question 3: Answer
The formula used to calculate the voltages in a step-down transformer is
Find the value of
when
, and
Resource 3: Key mathematical electrical principles
Quiz questions

## Slide 9: Question 4
A circuit contains four identical resistors of 10 ohms in parallel in a circuit.
Calculate the effective resistance in the circuit.
Resource 3: Key mathematical electrical principles
Quiz questions

## Slide 10: Question 4: Answer
A circuit contains four identical resistors of 10 ohms in parallel in a circuit.
Calculate the effective resistance in the circuit.
For resistors in parallel, add the reciprocals of the resistances and take the reciprocal of the result.
Resource 3: Key mathematical electrical principles
Quiz questions

## Slide 11: Question 5
A circuit contains two resistors, one of 100 ohms and one of 200 ohms, and a supply voltage of 450 V all in series.
Calculate the current in the circuit.
Resource 3: Key mathematical electrical principles
Quiz questions
Notes: <

## Slide 12: Question 5: Answer
Use
Use
Rearrange to get
A circuit contains two resistors, one of 100 ohms and one of 200 ohms, and a supply voltage of 450 V all in series.
Calculate the current in the circuit.
For resistors in series, add the individual resistances.
Resource 3: Key mathematical electrical principles
Quiz questions

## Slide 13: Question 6
The power in a circuit is 10 kW and the resistance is 100 Ω.
Calculate the current in the circuit.
Resource 3: Key mathematical electrical principles
Quiz questions

## Slide 14: Question 6: Answer
Convert 10 kW to W:
Use
Rearrange to get
Remember to convert to SI units first.
The power in a circuit is 10 kW and the resistance is 100 Ω.
Calculate the current in the circuit.
Resource 3: Key mathematical electrical principles
Quiz questions